Typical specification clause for HSE 75 series

Recessed floor access hatches shall be Howe Green Ltd HSE 75 series, with a 3 hour fire rating to BS 476: Part 20: 1987*, aluminium/stainless steel show edges*, hatch to be fitted with concealed multi-link hinges, gas springs, stainless steel/steel* base plate, reinforcement and double seal, top and underside release/top release only*. Sizes shall be as shown on contract drawings nos…..† Covers are to be supplied with …..† sets of combined lifting/securing keys. All to be manufactured and supplied by Howe Green Ltd., Marsh Lane, Ware, Herts., SG12 9QQ, United Kingdom Tel. 01920 463230 and installed in accordance with the manufacturers installation details and site work guide.

* Delete as appropriate.

† Insert appropriate number and quantities.