Typical specification clause for Visedge series

Aluminum/stainless steel access covers and duct/multipart covers* and frames shall be Howe Green Ltd VISEDGE series, with continuous pvc securing edge, top edge dirt seal, mechanically jointed corners, double sealed on seating and fitted with securing bolts. Sizes shall be as shown on contract drawings nos…. † Covers are to be supplied complete with …† sets of combined lifting/securing keys. All to be manufactured and supplied by Howe Green Ltd, Marsh Lane, Ware, Herts., SG12 9QQ, United Kingdom Tel. 01920 463230, and installed in accordance with the manufacturer’s installation details and site work guide.

* Delete as appropriate

† Insert appropriate numbers and quantities