Typical specification clause for 7500 series

Recessed floor access/duct/multipart* covers and frames shall be Howe Green Ltd 7500 Series with aluminium/stainless steel/brass/colouredge edges *, 2/3 hour fire rating to BS 476: Part 20: 1987* with stainless steel/steel* base plate and reinforcement, double sealed with socket head securing bolts/unsealed with blanking bolts*. Sizes shall be as shown on contract drawings nos…..† Covers are to be supplied with …..† sets of combined lifting/securing keys. All to be manufactured and supplied by Howe Green Ltd., Marsh Lane, Ware, Herts., SG12 9QQ, United Kingdom Tel. 01920 463230 and installed in accordance with the manufacturers installation details and site work guide.

* Delete as appropriate.

† Insert appropriate number and quantities.